## Sheet1
location | years | scenario | grid_limit_scenario | grid_limit_kW | battery_cost_factor | solver_status | pv_capacity_kW | battery_energy_capacity_kWh | battery_power_capacity_kW | used_capex_EUR | budget_EUR | total_profit_EUR | average_annual_profit_EUR | return_on_capex_per_year | operating_cashflow_total_EUR | average_annual_operating_cashflow_EUR | simple_payback_years | discounted_payback_years | npv_12y_EUR | npv_25y_EUR | revenue_EUR | grid_purchase_cost_EUR | degradation_cost_EUR | pv_available_MWh | electricity_sold_MWh | grid_buy_MWh | battery_charge_from_pv_MWh | battery_discharge_MWh | curtailment_MWh | curtailment_share | battery_cycles_per_year | pv_only_total_profit_EUR | pv_only_average_annual_profit_EUR | pv_only_curtailment_MWh | pv_only_electricity_sold_MWh | profit_gain_vs_pv_only_EUR | average_annual_profit_gain_vs_pv_only_EUR | curtailment_reduction_vs_pv_only_MWh | additional_sold_energy_vs_pv_only_MWh
Stuttgart | 2015-2024 | PV_only | no_limit |  | 1 | ('ok', 'optimal') | 0 | 0 | 0 | 0 | 10000000 | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Stuttgart | 2015-2024 | PV_only | weak_limit_12_5MW | 12500 | 1 | ('ok', 'optimal') | 0 | 0 | 0 | 0 | 10000000 | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Stuttgart | 2015-2024 | PV_only | light_limit_10MW | 10000 | 1 | ('ok', 'optimal') | 0 | 0 | 0 | 0 | 10000000 | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Stuttgart | 2015-2024 | PV_only | medium_limit_7_5MW | 7500 | 1 | ('ok', 'optimal') | 0 | 0 | 0 | 0 | 10000000 | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Stuttgart | 2015-2024 | PV_battery_no_grid_buy | no_limit |  | 1 | ('ok', 'optimal') | 11173.1844 | 0 | 10614.5251 | 10000000 | 10000000 | 2653898.8887 | 265389.8889 | 0.026539 | 10193606.1279 | 1019360.6128 | 9.8101 | 13.8246 | -965150.3805 | 4366811.9695 | 10193606.1279 | 0 | 0 | 130880.0894 | 127005.5 | 0 | 153.5307 | 149.176 | 3870.2346 | 0.029571 | 0 | 0 | 0 | 0 | 0 | 2653898.8887 | 265389.8889 | -3870.2346 | 127005.5
Stuttgart | 2015-2024 | PV_battery_no_grid_buy | weak_limit_12_5MW | 12500 | 1 | ('ok', 'optimal') | 11173.1844 | 0 | 10614.5251 | 10000000 | 10000000 | 2653898.8887 | 265389.8889 | 0.026539 | 10193606.1279 | 1019360.6128 | 9.8101 | 13.8246 | -965150.3805 | 4366811.9695 | 10193606.1279 | 0 | 0 | 130880.0894 | 127061.092 | 0 | 215.1285 | 204.768 | 3808.6369 | 0.0291 | 0 | 0 | 0 | 0 | 0 | 2653898.8887 | 265389.8889 | -3808.6369 | 127061.092
Stuttgart | 2015-2024 | PV_battery_no_grid_buy | light_limit_10MW | 10000 | 1 | ('ok', 'optimal') | 11052.6316 | 526.3158 | 10000 | 10000000 | 10000000 | 2564563.7664 | 256456.3766 | 0.025646 | 10144654.212 | 1014465.4212 | 9.8574 | 13.9184 | -1008537.6954 | 4297819.4106 | 10144654.212 | 0 | 0 | 129467.9621 | 125537.0038 | 0 | 2694.5809 | 2442.3593 | 3678.7366 | 0.028414 | 464.0483 | 0 | 0 | 0 | 0 | 2564563.7664 | 256456.3766 | -3678.7366 | 125537.0038
Stuttgart | 2015-2024 | PV_battery_no_grid_buy | medium_limit_7_5MW | 7500 | 1 | ('ok', 'optimal') | 10562.201 | 2667.4641 | 7500 | 10000000 | 10000000 | 2176470.0042 | 217647.0004 | 0.021765 | 9920846.6759 | 992084.6676 | 10.0798 | 14.3766 | -1206903.9465 | 3982386.3098 | 9920846.6759 | 0 | 0 | 123723.1716 | 119544.9769 | 0 | 10531.6316 | 9514.8316 | 3161.3947 | 0.025552 | 356.6995 | 0 | 0 | 0 | 0 | 2176470.0042 | 217647.0004 | -3161.3947 | 119544.9769
Stuttgart | 2015-2024 | PV_battery_grid_buy | no_limit |  | 1 | ('ok', 'optimal') | 11173.1844 | 0 | 10614.5251 | 10000000 | 10000000 | 2667619.994 | 266761.9994 | 0.026676 | 10207327.2332 | 1020732.7233 | 9.7969 | 13.7985 | -952989.0196 | 4386150.4192 | 10066597.9483 | -140729.2849 | 0 | 130880.0894 | 136176.7454 | 10158.1006 | 157.4749 | 9320.4213 | 3866.2905 | 0.029541 | 0 | 0 | 0 | 0 | 0 | 2667619.994 | 266761.9994 | -3866.2905 | 136176.7454
Stuttgart | 2015-2024 | PV_battery_grid_buy | weak_limit_12_5MW | 12500 | 1 | ('ok', 'optimal') | 11173.1844 | 0 | 10614.5251 | 10000000 | 10000000 | 2667619.994 | 266761.9994 | 0.026676 | 10207327.2332 | 1020732.7233 | 9.7969 | 13.7985 | -952989.0196 | 4386150.4192 | 10066597.9483 | -140729.2849 | 0 | 130880.0894 | 136243.1472 | 10158.1006 | 231.0503 | 9386.8232 | 3792.7151 | 0.028979 | 0 | 0 | 0 | 0 | 0 | 2667619.994 | 266761.9994 | -3792.7151 | 136243.1472
Stuttgart | 2015-2024 | PV_battery_grid_buy | light_limit_10MW | 10000 | 1 | ('ok', 'optimal') | 11052.6316 | 526.3158 | 10000 | 10000000 | 10000000 | 2612926.6734 | 261292.6673 | 0.026129 | 10193017.119 | 1019301.7119 | 9.8106 | 13.8258 | -965672.434 | 4365981.8236 | 10247186.8771 | 54169.7581 | 0 | 129467.9621 | 136859.3423 | 12427.1496 | 849.5241 | 11992.698 | 3751.7937 | 0.028979 | 2278.6126 | 0 | 0 | 0 | 0 | 2612926.6734 | 261292.6673 | -3751.7937 | 136859.3423
Stuttgart | 2015-2024 | PV_battery_grid_buy | medium_limit_7_5MW | 7500 | 1 | ('ok', 'optimal') | 10562.201 | 2667.4641 | 7500 | 10000000 | 10000000 | 2389646.6239 | 238964.6624 | 0.023896 | 10134023.2955 | 1013402.3295 | 9.8677 | 13.9388 | -1017960.1442 | 4282836.2558 | 11024629.649 | 890606.3535 | 0 | 123723.1716 | 139955.4481 | 22236.5656 | 2650.3264 | 22470.4541 | 3587.8512 | 0.028999 | 842.3901 | 0 | 0 | 0 | 0 | 2389646.6239 | 238964.6624 | -3587.8512 | 139955.4481
Duesseldorf | 2015-2024 | PV_only | no_limit |  | 1 | ('ok', 'optimal') | 0 | 0 | 0 | 0 | 10000000 | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Duesseldorf | 2015-2024 | PV_only | weak_limit_12_5MW | 12500 | 1 | ('ok', 'optimal') | 0 | 0 | 0 | 0 | 10000000 | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Duesseldorf | 2015-2024 | PV_only | light_limit_10MW | 10000 | 1 | ('ok', 'optimal') | 0 | 0 | 0 | 0 | 10000000 | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Duesseldorf | 2015-2024 | PV_only | medium_limit_7_5MW | 7500 | 1 | ('ok', 'optimal') | 0 | 0 | 0 | 0 | 10000000 | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Duesseldorf | 2015-2024 | PV_battery_no_grid_buy | no_limit |  | 1 | ('ok', 'optimal') | 11173.1844 | 0 | 10614.5251 | 10000000 | 10000000 | 1759890.2145 | 175989.0214 | 0.017599 | 9299597.4537 | 929959.7454 | 10.7532 | 15.8153 | -1757532.765 | 3106801.1 | 9299597.4537 | 0 | 0 | 120381.7542 | 116793.3235 | 0 | 131.6201 | 129.4017 | 3586.2123 | 0.02979 | 0 | 0 | 0 | 0 | 0 | 1759890.2145 | 175989.0214 | -3586.2123 | 116793.3235
Duesseldorf | 2015-2024 | PV_battery_no_grid_buy | weak_limit_12_5MW | 12500 | 1 | ('ok', 'optimal') | 11173.1844 | 0 | 10614.5251 | 10000000 | 10000000 | 1759890.2145 | 175989.0214 | 0.017599 | 9299597.4537 | 929959.7454 | 10.7532 | 15.8153 | -1757532.765 | 3106801.1 | 9299597.4537 | 0 | 0 | 120381.7542 | 116846.4752 | 0 | 190.514 | 182.5534 | 3527.3184 | 0.029301 | 0 | 0 | 0 | 0 | 0 | 1759890.2145 | 175989.0214 | -3527.3184 | 116846.4752
Duesseldorf | 2015-2024 | PV_battery_no_grid_buy | light_limit_10MW | 10000 | 1 | ('ok', 'optimal') | 11052.6316 | 526.3158 | 10000 | 10000000 | 10000000 | 1679279.8685 | 167927.9868 | 0.016793 | 9259370.3141 | 925937.0314 | 10.7999 | 15.9173 | -1793187.0911 | 3050105.1923 | 9259370.3141 | 0 | 0 | 119082.8984 | 115441.6795 | 0 | 2572.6602 | 2332.3258 | 3400.8845 | 0.028559 | 443.1419 | 0 | 0 | 0 | 0 | 1679279.8685 | 167927.9868 | -3400.8845 | 115441.6795
Duesseldorf | 2015-2024 | PV_battery_no_grid_buy | medium_limit_7_5MW | 7500 | 1 | ('ok', 'optimal') | 10562.201 | 2667.4641 | 7500 | 10000000 | 10000000 | 1328181.0277 | 132818.1028 | 0.013282 | 9072557.6994 | 907255.7699 | 11.0223 | 16.4228 | -1958763.8124 | 2786812.5287 | 9072557.6994 | 0 | 0 | 113798.917 | 109919.715 | 0 | 10197.9753 | 9213.7068 | 2894.9335 | 0.025439 | 345.4107 | 0 | 0 | 0 | 0 | 1328181.0277 | 132818.1028 | -2894.9335 | 109919.715
Duesseldorf | 2015-2024 | PV_battery_grid_buy | no_limit |  | 1 | ('ok', 'optimal') | 11173.1844 | 0 | 10614.5251 | 10000000 | 10000000 | 1773611.3198 | 177361.132 | 0.017736 | 9313318.559 | 931331.8559 | 10.7373 | 15.7807 | -1745371.4041 | 3126139.5497 | 9172589.2741 | -140729.2849 | 0 | 120381.7542 | 125977.9903 | 10158.1006 | 150.4358 | 9314.0685 | 3567.3966 | 0.029634 | 0 | 0 | 0 | 0 | 0 | 1773611.3198 | 177361.132 | -3567.3966 | 125977.9903
Duesseldorf | 2015-2024 | PV_battery_grid_buy | weak_limit_12_5MW | 12500 | 1 | ('ok', 'optimal') | 11173.1844 | 0 | 10614.5251 | 10000000 | 10000000 | 1773611.3198 | 177361.132 | 0.017736 | 9313318.559 | 931331.8559 | 10.7373 | 15.7807 | -1745371.4041 | 3126139.5497 | 9172589.2741 | -140729.2849 | 0 | 120381.7542 | 126018.1239 | 10158.1006 | 194.905 | 9354.2021 | 3522.9274 | 0.029265 | 0 | 0 | 0 | 0 | 0 | 1773611.3198 | 177361.132 | -3522.9274 | 126018.1239
Duesseldorf | 2015-2024 | PV_battery_grid_buy | light_limit_10MW | 10000 | 1 | ('ok', 'optimal') | 11052.6316 | 526.3158 | 10000 | 10000000 | 10000000 | 1728563.8822 | 172856.3882 | 0.017286 | 9308654.3279 | 930865.4328 | 10.7427 | 15.7925 | -1749505.4295 | 3119565.8082 | 9365039.7039 | 56385.376 | 0 | 119082.8984 | 126785.6638 | 12468.1718 | 772.7467 | 11960.4289 | 3484.9168 | 0.029265 | 2272.4815 | 0 | 0 | 0 | 0 | 1728563.8822 | 172856.3882 | -3484.9168 | 126785.6638
Duesseldorf | 2015-2024 | PV_battery_grid_buy | medium_limit_7_5MW | 7500 | 1 | ('ok', 'optimal') | 10562.201 | 2667.4641 | 7500 | 10000000 | 10000000 | 1545021.1707 | 154502.1171 | 0.01545 | 9289397.8423 | 928939.7842 | 10.765 | 15.8411 | -1766572.9372 | 3092425.8242 | 10196291.7088 | 906893.8664 | 0 | 113798.917 | 130548.6461 | 22494.6438 | 2367.3476 | 22447.9813 | 3330.9046 | 0.02927 | 841.5476 | 0 | 0 | 0 | 0 | 1545021.1707 | 154502.1171 | -3330.9046 | 130548.6461
Schleswig-Holstein | 2015-2024 | PV_only | no_limit |  | 1 | ('ok', 'optimal') | 0 | 0 | 0 | 0 | 10000000 | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Schleswig-Holstein | 2015-2024 | PV_only | weak_limit_12_5MW | 12500 | 1 | ('ok', 'optimal') | 0 | 0 | 0 | 0 | 10000000 | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Schleswig-Holstein | 2015-2024 | PV_only | light_limit_10MW | 10000 | 1 | ('ok', 'optimal') | 0 | 0 | 0 | 0 | 10000000 | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Schleswig-Holstein | 2015-2024 | PV_only | medium_limit_7_5MW | 7500 | 1 | ('ok', 'optimal') | 0 | 0 | 0 | 0 | 10000000 | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Schleswig-Holstein | 2015-2024 | PV_battery_no_grid_buy | no_limit |  | 1 | ('ok', 'optimal') | 11173.1844 | 0 | 10614.5251 | 10000000 | 10000000 | 1325801.5404 | 132580.154 | 0.013258 | 8865508.7797 | 886550.878 | 11.2797 | 17.0135 | -2142276.4801 | 2494998.929 | 8865508.7797 | 0 | 0 | 115995.6872 | 112551.1119 | 0 | 125.6536 | 124.0169 | 3442.9385 | 0.029682 | 0 | 0 | 0 | 0 | 0 | 1325801.5404 | 132580.154 | -3442.9385 | 112551.1119
Schleswig-Holstein | 2015-2024 | PV_battery_no_grid_buy | weak_limit_12_5MW | 12500 | 1 | ('ok', 'optimal') | 11173.1844 | 0 | 10614.5251 | 10000000 | 10000000 | 1325801.5404 | 132580.154 | 0.013258 | 8865508.7797 | 886550.878 | 11.2797 | 17.0135 | -2142276.4801 | 2494998.929 | 8865508.7797 | 0 | 0 | 115995.6872 | 112593.6958 | 0 | 172.838 | 166.6008 | 3395.7542 | 0.029275 | 0 | 0 | 0 | 0 | 0 | 1325801.5404 | 132580.154 | -3395.7542 | 112593.6958
Schleswig-Holstein | 2015-2024 | PV_battery_no_grid_buy | light_limit_10MW | 10000 | 1 | ('ok', 'optimal') | 10974.6294 | 448.3136 | 10000 | 9914197.6037 | 10000000 | 1251123.0143 | 125112.3014 | 0.01262 | 8760536.0067 | 876053.6007 | 11.3169 | 17.103 | -2149514.0939 | 2432853.2811 | 8760536.0067 | 0 | 0 | 113934.3662 | 110462.2459 | 0 | 2274.3932 | 2063.0657 | 3260.7929 | 0.02862 | 460.1836 | 0 | 0 | 0 | 0 | 1251123.0143 | 125112.3014 | -3260.7929 | 110462.2459
Schleswig-Holstein | 2015-2024 | PV_battery_no_grid_buy | medium_limit_7_5MW | 7500 | 1 | ('ok', 'optimal') | 8230.9721 | 336.2352 | 7500 | 7435648.2028 | 10000000 | 938342.2607 | 93834.2261 | 0.01262 | 6570402.005 | 657040.2005 | 11.3169 | 17.103 | -1612135.5704 | 1824639.9608 | 6570402.005 | 0 | 0 | 85450.7747 | 82846.6844 | 0 | 1705.7949 | 1547.2993 | 2445.5946 | 0.02862 | 460.1836 | 0 | 0 | 0 | 0 | 938342.2607 | 93834.2261 | -2445.5946 | 82846.6844
Schleswig-Holstein | 2015-2024 | PV_battery_grid_buy | no_limit |  | 1 | ('ok', 'optimal') | 11173.1844 | 0 | 10614.5251 | 10000000 | 10000000 | 1339522.6457 | 133952.2646 | 0.013395 | 8879229.8849 | 887922.9885 | 11.2622 | 16.9729 | -2130115.1192 | 2514337.3788 | 8738500.6 | -140729.2849 | 0 | 115995.6872 | 121678.2608 | 10158.1006 | 80.7374 | 9251.1658 | 3487.8547 | 0.030069 | 0 | 0 | 0 | 0 | 0 | 1339522.6457 | 133952.2646 | -3487.8547 | 121678.2608
Schleswig-Holstein | 2015-2024 | PV_battery_grid_buy | weak_limit_12_5MW | 12500 | 1 | ('ok', 'optimal') | 11173.1844 | 0 | 10614.5251 | 10000000 | 10000000 | 1339522.6457 | 133952.2646 | 0.013395 | 8879229.8849 | 887922.9885 | 11.2622 | 16.9729 | -2130115.1192 | 2514337.3788 | 8738500.6 | -140729.2849 | 0 | 115995.6872 | 121752.3969 | 10158.1006 | 162.8827 | 9325.3019 | 3405.7095 | 0.029361 | 0 | 0 | 0 | 0 | 0 | 1339522.6457 | 133952.2646 | -3405.7095 | 121752.3969
Schleswig-Holstein | 2015-2024 | PV_battery_grid_buy | light_limit_10MW | 10000 | 1 | ('ok', 'optimal') | 11052.6316 | 526.3158 | 10000 | 10000000 | 10000000 | 1299158.7965 | 129915.8796 | 0.012992 | 8879249.2421 | 887924.9242 | 11.2622 | 16.9728 | -2130097.9624 | 2514364.6607 | 8934000.938 | 54751.6958 | 0 | 114744.1547 | 122521.9264 | 12423.6364 | 786.1592 | 11932.3406 | 3368.4097 | 0.029356 | 2267.1447 | 0 | 0 | 0 | 0 | 1299158.7965 | 129915.8796 | -3368.4097 | 122521.9264
Schleswig-Holstein | 2015-2024 | PV_battery_grid_buy | medium_limit_7_5MW | 7500 | 1 | ('ok', 'optimal') | 10562.201 | 2667.4641 | 7500 | 10000000 | 10000000 | 1134516.423 | 113451.6423 | 0.011345 | 8878893.0946 | 887889.3095 | 11.2627 | 16.9739 | -2130413.6249 | 2513862.7083 | 9786112.4274 | 907219.3328 | 0 | 109652.6933 | 126406.9336 | 22385.2966 | 2452.7754 | 22426.3941 | 3219.3784 | 0.02936 | 840.7384 | 0 | 0 | 0 | 0 | 1134516.423 | 113451.6423 | -3219.3784 | 126406.9336
Stuttgart | 2015-2024 | PV_battery_no_grid_buy | medium_limit_7_5MW | 7500 | 1 | ('ok', 'optimal') | 10562.201 | 2667.4641 | 7500 | 10000000 | 10000000 | 2176470.0042 | 217647.0004 | 0.021765 | 9920846.6759 | 992084.6676 | 10.0798 | 14.3766 | -1206903.9465 | 3982386.3098 | 9920846.6759 | 0 | 0 | 123723.1716 | 119544.9769 | 0 | 10531.6316 | 9514.8316 | 3161.3947 | 0.025552 | 356.6995 | 0 | 0 | 0 | 0 | 2176470.0042 | 217647.0004 | -3161.3947 | 119544.9769
Stuttgart | 2015-2024 | PV_battery_no_grid_buy | medium_limit_7_5MW | 7500 | 0.75 | ('ok', 'optimal') | 10940.3081 | 3045.5712 | 7500 | 10000000 | 10000000 | 2685912.8261 | 268591.2826 | 0.026859 | 10303629.8018 | 1030362.9802 | 9.7053 | 13.6172 | -867633.6298 | 4521878.7256 | 10303629.8018 | 0 | 0 | 128152.2308 | 123783.0963 | 0 | 11807.1978 | 10666.3893 | 3228.326 | 0.025191 | 350.2262 | 0 | 0 | 0 | 0 | 2685912.8261 | 268591.2826 | -3228.326 | 123783.0963
Stuttgart | 2015-2024 | PV_battery_no_grid_buy | medium_limit_7_5MW | 7500 | 0.5 | ('ok', 'optimal') | 11378.1163 | 3483.3795 | 7500 | 10000000 | 10000000 | 3274221.1607 | 327422.1161 | 0.032742 | 10745279.541 | 1074527.9541 | 9.3064 | 12.8356 | -476188.3524 | 5144337.4198 | 10745279.541 | 0 | 0 | 133280.6151 | 128684.7296 | 0 | 13285.3614 | 12000.8479 | 3311.372 | 0.024845 | 344.5174 | 0 | 0 | 0 | 0 | 3274221.1607 | 327422.1161 | -3311.372 | 128684.7296
Stuttgart | 2015-2024 | PV_battery_no_grid_buy | medium_limit_7_5MW | 7500 | 0.25 | ('ok', 'optimal') | 11773.3628 | 5886.6814 | 5592.3473 | 10000000 | 10000000 | 3996636.886 | 399663.6886 | 0.039966 | 11335294.188 | 1133529.4188 | 8.822 | 11.9259 | 46756.4762 | 5975900.7926 | 11335294.188 | 0 | 0 | 137910.44 | 132801.5484 | 0 | 20417.473 | 18437.9541 | 3129.3727 | 0.022691 | 313.2147 | 0 | 0 | 0 | 0 | 3996636.886 | 399663.6886 | -3129.3727 | 132801.5484
Stuttgart | 2015-2024 | PV_battery_no_grid_buy | medium_limit_7_5MW | 7500 | 0.1 | ('ok', 'optimal') | 11596.2339 | 21600.4283 | 7500 | 10000000 | 10000000 | 4827370.6504 | 482737.065 | 0.048274 | 12225363.209 | 1222536.3209 | 8.1797 | 10.7833 | 835647.0468 | 7230359.1367 | 12225363.209 | 0 | 0 | 135835.594 | 129453.9564 | 0 | 52406.8525 | 47308.2008 | 1282.986 | 0.0094451 | 219.0151 | 0 | 0 | 0 | 0 | 4827370.6504 | 482737.065 | -1282.986 | 129453.9564
Duesseldorf | 2015-2024 | PV_battery_no_grid_buy | medium_limit_7_5MW | 7500 | 1 | ('ok', 'optimal') | 10562.201 | 2667.4641 | 7500 | 10000000 | 10000000 | 1328181.0277 | 132818.1028 | 0.013282 | 9072557.6994 | 907255.7699 | 11.0223 | 16.4228 | -1958763.8124 | 2786812.5287 | 9072557.6994 | 0 | 0 | 113798.917 | 109919.715 | 0 | 10197.9753 | 9213.7068 | 2894.9335 | 0.025439 | 345.4107 | 0 | 0 | 0 | 0 | 1328181.0277 | 132818.1028 | -2894.9335 | 109919.715
Duesseldorf | 2015-2024 | PV_battery_no_grid_buy | medium_limit_7_5MW | 7500 | 0.75 | ('ok', 'optimal') | 10940.3081 | 3045.5712 | 7500 | 10000000 | 10000000 | 1807356.8573 | 180735.6857 | 0.018074 | 9425073.8329 | 942507.3833 | 10.61 | 15.5028 | -1646319.8927 | 3283646.8132 | 9425073.8329 | 0 | 0 | 117872.7064 | 113812.1445 | 0 | 11436.4274 | 10331.769 | 2955.9035 | 0.025077 | 339.2391 | 0 | 0 | 0 | 0 | 1807356.8573 | 180735.6857 | -2955.9035 | 113812.1445
Duesseldorf | 2015-2024 | PV_battery_no_grid_buy | medium_limit_7_5MW | 7500 | 0.5 | ('ok', 'optimal') | 11378.1163 | 3483.3795 | 7500 | 10000000 | 10000000 | 2360820.438 | 236082.0438 | 0.023608 | 9831878.8184 | 983187.8818 | 10.171 | 14.5662 | -1285758.3973 | 3856995.5047 | 9831878.8184 | 0 | 0 | 122589.7256 | 118315.538 | 0 | 12839.7618 | 11598.6942 | 3033.12 | 0.024742 | 332.9725 | 0 | 0 | 0 | 0 | 2360820.438 | 236082.0438 | -3033.12 | 118315.538
Duesseldorf | 2015-2024 | PV_battery_no_grid_buy | medium_limit_7_5MW | 7500 | 0.25 | ('ok', 'optimal') | 11773.3628 | 5886.6814 | 5592.3473 | 10000000 | 10000000 | 3047192.0564 | 304719.2056 | 0.030472 | 10385849.3584 | 1038584.9358 | 9.6285 | 13.4651 | -794760.3678 | 4637758.5129 | 10385849.3584 | 0 | 0 | 126848.1766 | 122102.6196 | 0 | 19758.1907 | 17842.9518 | 2830.3181 | 0.022313 | 303.1071 | 0 | 0 | 0 | 0 | 3047192.0564 | 304719.2056 | -2830.3181 | 122102.6196
Duesseldorf | 2015-2024 | PV_battery_no_grid_buy | medium_limit_7_5MW | 7500 | 0.1 | ('ok', 'optimal') | 11598.4539 | 21541.2286 | 7500 | 10000000 | 10000000 | 3843374.6774 | 384337.4677 | 0.038434 | 11240623.5754 | 1124062.3575 | 8.8963 | 12.0623 | -37152.4701 | 5842472.556 | 11240623.5754 | 0 | 0 | 124963.6796 | 118989.1407 | 0 | 49966.2346 | 45105.5453 | 1113.8495 | 0.0089134 | 209.3917 | 0 | 0 | 0 | 0 | 3843374.6774 | 384337.4677 | -1113.8495 | 118989.1407
Schleswig-Holstein | 2015-2024 | PV_battery_no_grid_buy | medium_limit_7_5MW | 7500 | 1 | ('ok', 'optimal') | 8230.9721 | 336.2352 | 7500 | 7435648.2028 | 10000000 | 938342.2607 | 93834.2261 | 0.01262 | 6570402.005 | 657040.2005 | 11.3169 | 17.103 | -1612135.5704 | 1824639.9608 | 6570402.005 | 0 | 0 | 85450.7747 | 82846.6844 | 0 | 1705.7949 | 1547.2993 | 2445.5946 | 0.02862 | 460.1836 | 0 | 0 | 0 | 0 | 938342.2607 | 93834.2261 | -2445.5946 | 82846.6844
Schleswig-Holstein | 2015-2024 | PV_battery_no_grid_buy | medium_limit_7_5MW | 7500 | 0.75 | ('ok', 'optimal') | 10940.3081 | 3045.5712 | 7500 | 10000000 | 10000000 | 1380467.296 | 138046.7296 | 0.013805 | 8998184.2717 | 899818.4272 | 11.1134 | 16.6316 | -2024682.8529 | 2681991.0321 | 8998184.2717 | 0 | 0 | 113578.0556 | 109630.9987 | 0 | 11482.4785 | 10373.3301 | 2837.9085 | 0.024986 | 340.6038 | 0 | 0 | 0 | 0 | 1380467.296 | 138046.7296 | -2837.9085 | 109630.9987
Schleswig-Holstein | 2015-2024 | PV_battery_no_grid_buy | medium_limit_7_5MW | 7500 | 0.5 | ('ok', 'optimal') | 11378.1163 | 3483.3795 | 7500 | 10000000 | 10000000 | 1915646.2027 | 191564.6203 | 0.019156 | 9386704.5831 | 938670.4583 | 10.6534 | 15.5975 | -1680327.5243 | 3229569.4052 | 9386704.5831 | 0 | 0 | 118123.2119 | 113970.2636 | 0 | 12843.4431 | 11602.0166 | 2911.5219 | 0.024648 | 333.0678 | 0 | 0 | 0 | 0 | 1915646.2027 | 191564.6203 | -2911.5219 | 113970.2636
Schleswig-Holstein | 2015-2024 | PV_battery_no_grid_buy | medium_limit_7_5MW | 7500 | 0.25 | ('ok', 'optimal') | 11773.3628 | 5886.6814 | 5592.3473 | 10000000 | 10000000 | 2579827.428 | 257982.7428 | 0.025798 | 9918484.7301 | 991848.473 | 10.0822 | 14.3816 | -1208997.3985 | 3979057.3965 | 9918484.7301 | 0 | 0 | 122226.5077 | 117625.5007 | 0 | 19434.1403 | 17550.4964 | 2717.363 | 0.022232 | 298.1391 | 0 | 0 | 0 | 0 | 2579827.428 | 257982.7428 | -2717.363 | 117625.5007
Schleswig-Holstein | 2015-2024 | PV_battery_no_grid_buy | medium_limit_7_5MW | 7500 | 0.1 | ('ok', 'optimal') | 11601.1586 | 21469.1041 | 7500 | 10000000 | 10000000 | 3346142.7135 | 334614.2713 | 0.033461 | 10742485.5922 | 1074248.5592 | 9.3088 | 12.8402 | -478664.6995 | 5140399.6438 | 10742485.5922 | 0 | 0 | 120438.7505 | 114771.1594 | 0 | 47814.1961 | 43163.3331 | 1016.7281 | 0.0084419 | 201.0486 | 0 | 0 | 0 | 0 | 3346142.7135 | 334614.2713 | -1016.7281 | 114771.1594